Total No. of Pages:

1

Register Number:                                                  					7245

Name of the Candidate:

DIPLOMA EXAMINATION, 2010

(ENERGY ENGINEERING)

(PAPER-II)

120.  ENERGY GENERATION

Dec]                                                 						[Time : 3 Hours

Maximum :  100 Marks

Answer any FIVE questions 			(5×20=100)

- a)	Discuss on the various sources of conventional energy and mention its type.

b)	Compare hydro, thermal and gas turbine power conversion system.

- a)	With a neat sketch explain working of hydro electric power system

b)	What are low, medium and high head power plants?

- a)	Explain the types of turbines and mention its advantages and disadvantages

b)	Discuss on the site selection criteria for hydro electric power plant.

- a)	Explain the general layout of a thermal power plant.

b)	Mention the merits and demerits of thermal power plant.

- a)	What is super critical and super charged boilers?

b)	State the advantages of high pressure boiler.

- a)	Discuss on the working principle of gas turbine power plant with neat sketch.

b)	What is gas steam cycle?

- a)	Explain the working principle of fuel cells with suitable sketch.

b)	What are the advantages of magneto hydro dynamic generator?

- a)	What is thermionic energy convertor explain with suitable diagram.

b)	Write short notes on (i) Boiler mountings and (ii) boiler accessories.

---------------