Total no of Pages:

1

Register Number:                                                                                                7455

Name of the Candidate:

Diploma EXAMINATION, 2011

(Energy engineering)

(PAPER-II)

120. energy generation

Dec.)                                                                                                                  (Time: 3 Hours

Maximum: 100 Marks

Answer any five questions

All questions carry equal marks

- a) Compare the resources of conventional energy available in India.	          (10)

- Explain how low-grade petroleum fuels are used in furnaces.                         (8)

- a) Discuss the features of turbines used in low and high head hydropower plants.

(10)

- Write a note on micro-hydroelectric power plant.			           (10)

- a) Name different components of a hydroelectric plant and explain their uses.  (12)

- Explain the advantages of hydroelectric power plants.                                    (8)

- a) Write a note on the selection of site for thermal power plant.                          (8)

- With a neat diagram explain working of pressure-compounded steam turbine.

(12)

- a) Discuss the storage of solid fuels in thermal power plants.                             (12)

- How are gas turbines plant classified?                                                              (8)

- a) Explain the operation of single-stage gas turbine power plant.                       (10)

- Discuss the various methods of improving efficiency of gas turbine plant.    (10)

- a) Explain the constructional features of MHD power generation system.         (10)

- With a neat sketch, explain the working of a fuel cell.                                   (10)

- a) Describe the working of thermionic energy convertor.                                    (10)

- Explain the principle of working of thermoelectric energy converter.            (10)

~~~~~~~~~~~