Total No. of Pages:   1

Register Number:                                                       					       3445

Name of the Candidate:

DIPLOMA EXAMINATION - 2011

(ENERGY ENGINEERING)

(PAPER - II)

120. ENERGY GENERATION

May)                                            			        	                       (Time: 3 Hours

Maximum: 100 Marks

Answer any FIVE questions.
                             All questions carry equal marks.        (5 × 20 = 100)

| 1. | (a) Explain the various types of conventional energy sources with suitable example. (10) (b) What are the factors to be considered in selection of water turbine? (10) |
| --- | --- |
| 2. | (a) Explain the working principle of hydroelectric power plant with neat sketch. (12) (b) What is a surge tank? Why is it important in a hydroelectric power plant? (8) |
| 3. | (a) Write short note on the following: (12) (i) Superheater (ii) Air preheater (iii) Economizer (iv) Feed pump (b) List out the advantages of pulverized coal-firing system. (8) |
| 4. | (a) Explain the essential features and their function of a gas turbine power plant with a neat diagram. (15) (b)What is meant by open and closed cycles of a gas turbine? (5) |
| 5. | (a) What are high-pressure boilers? Explain any high pressure boiler with suitable sketch (15) (b) Write the advantages of velocity pressure compounding of impulse turbine. (5) |
| 6. | (a) Briefly discuss the merits of thermoelectric power generators. (8) (b) Explain the functioning of fuel cell with suitable sketch. (12) |
| 7. | (a) What are the main constituents of fuel oil? (8) (b) What are cyclone separators? Explain the working principle of any one with suitable diagram? (12) |
| 8. | (a)Explain the heating and cooling applications of thermoelectric system. (12) (b)What are the major advantages and limitations of MHD generating system? (8) |

%%%%%%