Total No. of Pages:   1

Register Number:                                                       							7675

Name of the Candidate:

diploma EXAMINATION – 2013

(ENERGY ENGINEERING)

(PAPER-II)

120. ENERGY GENERATION

May)                                                 Maximum: 100 Marks             		          (Time: 3 Hours

Answer any FIVE FULL Questions		        (5×20=100)

Answer should not exceed five Pages

|  | a) Explain the basic principle followed in Thermal, Hydel and Gas Turbine Power Plant. (12) b) Explain how low-grade petroleum fuels are used in furnace. (8) |
| --- | --- |
|  | a) Explain with neat sketch of hydroelectric power plant. (12) b) Describe the basic requirement for site selection in hydro electric power plant. (8) |
| 3. | a) What are the essential features of water power? (12) b) Explain the methods of fuel handling and ash handling system followed in Thermal power plant.(8) |
| 4. | a) Explain with simple line sketch of thermal power plant. (12) b) Discuss the different types of fuels used in thermal power plant and its storage method. (8) |
| 5. | a)Explain the operation of pressure compounding for impute turbine. (12) b) Classify the types of gas turbine power plants. (8) |
| 6. | a) Explain the working principle of gas turbine power plant. (12) b) Discuss the governing system for gas turbine power plant. (8) |
| 7. | a) What are the advantages of combined gas and steam cycle? (12) b) Explain the working principle of MHD power system. (8) |
| 8. | a) Explain the principle of Thermoelectric Energy Converters. (12) b) List the advantages of Direct energy conversion system. (8) |

*******