QUESTION BANK

EI2311-BIOMEDICAL INSTRUMENTATION

UNIT-I

PHYSIOLOGY AND TRANSDUCERS

PART-A

- What is meant by cell? (4)

- What are resting and action potential?(3)

- What is the use of transducers in Biomedical Engineering?(1)

- Define neuron and Nerve fiber.(2)

- Define circulatory system?

- What are the parts of central nervous system?

- What are the applications of  piezo electric sensors?(1)

- What are active and passive transducers?(2)

- Name some transducers that can be used for blood flow measurement?

- Distinguish Absolute and Refractory Period?(2)

- What are the types of strain gauges?

- Mention the various types of active and passive transducer?

- Define strain gauge?

- What is meant by transducer?(2)

- Define Systolic and Diastolic Pressure?(1)

- Give the relationship between action potential and muscle contraction?

- Give the applications of  thermistor?(1)

- Define the principle behind Piezo-electric transducer?

- Define LVDT?

- Give the Nernst equation for finding half cell potential?

PART-B

1.Explain the structure of human cell and its constituents with the help of neat diagram?(3)

2.Draw a block diagram of a biomedical instrument system and briefly explain its components?(2)

3. With relevant graph explain the relationship between the action potential and Muscle contraction? (2)

4. Explain with neat sketch anatomy and conducting system of heart. Also discuss cardio vascular circulating system with block diagram?(1)

5.Explain with neat sketch anatomy and physiology of central nervous and peripheral nervous system(1)

6.  Draw diagrams illustrating the process of respiration and circulation.

7. Draw the diagram and equivalent circuit of a differential capacitance pressure transducer and briefly explain its operation.(1)

8.Write short notes on:

(i) Strain guage type chest transducer

(ii) Transducer as respiration sensor

9. (i) Explain the working of Piezoelectric transducer as arterial pressure sensor. (1)

(ii) Explain how Piezo- electric transducer produces Ultrasonic waves.

10. Explain in detail how pulsatile blood volume changes can be measured using Photo electric    type resistive transducer.

UNIT-II

PART-A

- What is ERG?(3 times)

- What are the major advantages of chopper amplifier? (2 times)

- Mention some protective devices used in medical field to protect against electrical hazards. (2 times)

- Define micro and macro shock.

- Define CMRR.(2 times)

- Mention the characteristics of ECG waveform.

- List the requirements of instrumentation amplifier.

- Give the different types of surface electrodes. (2 times)

- Draw the typical waveform of ECG. (2 times)

- Draw the equivalent circuit of microelectrode.

- Distinguish between metallic and nonmetallic microelectrode.

- State the requirements of physiological amplifiers?

- Draw the typical PQRST waveform of ECG.

- Name the four types of EEG waves.

- Mention the different types of needle electrode.

- Define Einthoven triangle.

- List the brain waves and its frequency.

- Give the different types of needle electrode.

- What is Electrocardiography?

- What is electrode potential?

PART-B

- With the help of functional block diagram, explain the working of a typical electrocardiograph.(2 times)

- Explain the electrical hazards protection can be provided in the biomedical instrumentation systems.(2 times)

- Discuss in detail the different ECG lead configuration with necessary illustrations.(2 times)

- With neat block diagram explain the EEG recording system and also discuss the applications of EEG.

- With necessary diagrams explain chopper amplifier and give its advantage over other amplifier.(4 times)

- Explain the different types of electrode and give their uses.

- Explain any four types of surface electrodes in detail.

- With neat block diagram explain EMG and its recording method.

- Discuss in detail about the chopper amplifier and isolation amplifier.

- (i) How a metal microelectrode is formed? Draw its electrical equivalent circuit and explain.

(ii)Draw the circuit diagram of Darlington pair isolation amplifier and explain.