M.TECH. DEGREE EXAMINATION, December 2013

Branch: Civil Engineering

Specialization : Environmental Engineering

Model Question Paper - I

First Semester

MCEEE 106 – 2 ENERGY MANAGEMENT (Elective II)

(Regular – 2013 Admissions)

Time : Three Hours						   Maximum : 100 marks

Instructions: 	1) Answer questions in full.

2) Assume suitable data wherever necessary.

- A) Explain Energy Scenario of India.  						(12 Marks)

B) Explain the trends and pattern of Energy Consumption in India. 			(13 Marks)

OR

- A) Explain the Role of Energy Managers in Industries. 				( 13 Marks)

B) Explain the Challenges and opportunities for Non Conventional Energy in Indian perspective

- A) Define Energy Audit as per Energy Conservation Act. 				(5 Marks)

B) Explain the methodology and steps of detailed energy audit with special reference to a power plant. 										(10Marks)

C) Explain the basic components in a Steam system. 				(10 Marks)

OR

- A) Explain Direct and in Direct methods for Evaluating Boiler Efficiencies  	(8 Marks)

- Explain methods for conservation of energy in water pumping installations. 	(9Marks)

- State with reasons the need of Energy Audit in any industry 			(8 Marks)

- A) Explain the potential of solar heat in the future energy system 			( 10 Marks)

B) Explain on Energy efficient motors and factors affecting the motor efficiency. 	( 10 Marks)

C) Explain Sustainable building based on energy efficiency 			(5 marks)

OR

#### A) Explain how Water Heat Recovery System can improve your home energy costs. ( 9 Marks)

#### Explain the advantages and disadvantages of distributed system over centralized system. 											      (8 Marks)

- Explain the advantages and disadvantages of zero net energy. 			    ( 8 Marks)

- A) Explain the role of Renewable energy Certification ( REC) mechanism. 	( 10 Marks)

B) Explain the following: 								(15 marks)

1.  Internal Rate of Return

2. Life Cycle Costing

3. Carbon Credit.

OR

- Explain different Energy Efficiency Improvement and Cost Saving techniques for a Petrochemical Industry and a Sugar Industry. 					(25 Marks)