(Pages:2)	Reg. No………………………………….

Name…………………………………….

M.TECH DEGREE EXAMINATION

First Semester

Model Question Paper - II

Branch: Electrical and Electronics Engineering

Specialization: Power Electronics

MEEPE 106-2           POWER SYSTEMS OPERATION AND CONTROL (Elective)

(2013 Admission onwards)

(Regular)

Time : Three Hour							Max. Mark : 100 Marks

I

- Explain the constrains in unit commitment						[8  Marks]

- Explain unit commitment problem solution by priority-list method.			[8  Marks]

- Write the algorithm for priority-list  scheme around a simple shut-down rule.		[9  Marks]

OR

- What do you mean by Economic Load Dispatch.						[5  Marks]

- Explain Economic Load Dispatch by lambda method.					[15  Marks]

- What are co-ordination equations.							[5  Marks]

II

- Discuss briefly about hydroelectric plant models.					[10  Marks]

- Formulate a short term hydrothermal scheduling problem by gradient method. Also explain with flowchart, the solution of this problem by this method.					[15  Marks]

OR

- Explain pumped storage hydroplants.							[10  Marks]

- Formulate a short-term hydrothermal scheduling problem by Lambda-gamma method. Also explain with flowchart, the solution of this problem by this method.					[15  Marks]

III

- What do you mean by ACE.								[5  Marks]

- What is the difference between ACE in single area and two-area power system.		[5  Marks]

- Sketch and explain the block schematic of a controlled two-area system.			[15  Marks]

OR

- Differentiate between flat frequency control, flat tie-line control and tie-line bias control of two interconnected power system.								[15  Marks]

- How AGC implementation is done.							[10  Marks]

IV

- What do you mean by static var system.							[5  Marks]

- Explain the following:

- Thyristor switched capacitors.

- Thyristor controlled reactors.							[20  Marks]

OR

- Discuss factors affecting system security.						[10  Marks]

- Explain contingency analysis using sensitivity factors.					[15  Marks]