### M. TECH. DEGREE EXAMINATION, MODEL QUESTION PAPER II

First Semester

### Branch: Mechanical Engineering

Specialisation: Production and Industrial Engineering / Advanced Manufacturing and Production Management / Computer Integrated Manufacturing

MMEPI 105.1 / MMEMP 105.1 / MMECM 105.1 METROLOGY AND COMPUTER AIDED INSPECTION

(Regular – 2013 Admissions)

Time: Three Hours                                      				Maximum: 100 Marks

(Answer all questions)

- a. Explain the three standards associated with linear measurements.		(10 marks)

b. Explain the accurate measurement of flatness of a slip gauge by an optical interferometer.									(10 marks)

c. What is Abbe’s principle of alignment?					(5 marks)

OR

- a. Explain the working principle of an interferometer with neat sketches	(10 marks)

b. Explain the principle and application of optical flats.		            (10 marks)

c. Explain the advantages of using wavelength standards           		(5 marks)

- a. Design the general type “GO” and “NO-GO” gauges for components having 25 H7/f8 fit. Being given tolerance unit i (microns) =0.453D+0.001D  (D in mm); the upper deviation for f shaft =−5.5D0.41; 25 mm falls in the diameter step of 18 and 30; IT 7 = 16i & IT 8 = 25i. Take wear allowance as 10% of the gauge tolerance. Also determine (i) type of fit and (ii) allowance for the above fit.	            (20 marks)

b. Explain how sine bar is used to measure: (i) angle of component of small size. (ii)angle of component of large size.				    		(5 marks)

OR

- a. Explain the external screw thread terminologies with a neat sketch. Also explain various methods to measure them.					            (15 marks)

b. Explain the principle and advantages of mechanical optical comparators with a neat sketch.				.						(10 marks)

- a. Explain the working of laser interferometer with neat sketch.      		(15 marks)

b. Explain the construction and working of any two types of CMM with simple sketches.								            (10 marks)

OR

- a. Explain how accuracy is specified in CMM.			            (10 marks)

b. Write a note on laser triangulation technique.          			(10 marks)

c. Explain applications of lasers in precision measurements.		            (5 marks)

- a. Explain various steps in machine vision system.		 	           (15 marks)

b. Explain any one method used for calibrating CMM. 		           (10 marks)

OR

- a. Discuss how image processing is useful in metrology. Support your discussion with examples.							           		(10 marks)

b. For what conditions the CMMs are particularly suited? Explain.	            (10 marks)

c. write a note on use of moiré fringes in metrology.				(5 marks)