M.TECH. DEGREE EXAMINATION

Branch : Electrical and Electronics Engineering

Specialization – Power Electronics

Model Question Paper - I

Second Semester

MEEPE 203   ELECTRICAL ENERGY CONSERVATION AND MANAGEMENT

(Regular – 2011Admission onwards)

Time: Three hours                                  					Max. Marks: 100

( Answer all Questions )

- ( a ) Give an account of Energy conservation Act – 2001.			( 13 Marks )

( b ) Name the instruments required for an Energy Audit. 			( 6 Marks )

( c ) What all elements are considered by utilities while preparing an electricity bill.

( 6 Marks )

OR

- What are the major steps involved in Electrical Energy Audit.		( 25 Marks )

- ( a ) What are the factors to be considered while selecting a motor for a particular application.									( 15 Marks )

( b ) Comment on the rewinding effects of motors on their energy efficiency.

( 10 Marks )

OR

- ( a ) Suggest a method to improve the efficiency of an induction motor used to drive a load which is much lower than the capacity of the motor.			( 12 Marks )

( b ) Write a short note on the losses and efficiency of Induction Motor.	( 6 Marks )

( c ) Write a short note on Preventive Maintenance of Motors.		( 7 Marks )

- ( a ) Explain the importance of quality of electricity supplied to driven machines.

( 12 Marks )

( b ) What are variable frequency drives ?. Mention their benefits over other drives.

( 13 Marks )

OR

- ( a ) What are the various losses that occur in Electrical Drive Systems.	( 12 Marks )

( b ) Describe the electrical energy conservation areas in an A/c System.	( 13 Marks )

- ( a ) Give an account of different lighting technologies.			( 13 Marks )

( b ) What are the implementation issues of DSM.				( 12 Marks )

OR

- ( a ) Explain how co generation is advantageous over conventional power plant.

( 12 Marks )

( b ) What are the aims and scopes of Demand Side Management.		( 13 Marks )