M.TECH. DEGREE EXAMINATION

Branch : Electrical and Electronics Engineering

Specialization – Power Electronics

Model Question Paper - II

Second Semester

MEEPE 203   ELECTRICAL ENERGY CONSERVATION AND MANAGEMENT

(Regular – 2011Admission onwards)

Time: Three hours                                  					Max. Marks: 100

( Answer all Questions )

- ( a ) What are the key features of Electricity Act 2003.			( 12 Marks )

( b ) What are the initiatives taken up by Bureau of Energy Efficiency. 	( 7 Marks )

( c ) Write a short note on Maximum Demand control. 			( 5 Marks )

OR

- What are the major steps involved in Electrical Safety Audit.		( 25 Marks )

- ( a ) What are the factors affecting the performance of operation of an Induction Motor.											( 12 Marks )

( b ) What are high efficiency motors ?. How they are different from ordinary motors.

( 8 Marks )

( c ) Write short note on Energy efficiency in Transformers.			( 5 Marks )

OR

- ( a ) How do you select a motor for a particular application.			( 10 Marks )

( b ) How can you improve the efficiency of a motor under low load condition ?. Substantiate your answer with a typical case analysis.		 	( 15 Marks )

- ( a ) What are the measures of Energy Conservation in Electrical Drives.

( 12 Marks )

( b ) With a typical case analysis explain the energy saving in an electric fan cooling system.									( 13 Marks )

OR

- ( a ) How can we achieve energy efficiency in Compressed Air system.	( 12 Marks )

( b ) What are the factors affecting the energy efficiency of Refrigeration plants.

( 13 Marks )

- ( a ) Suggest a methodology for the study of Lighting system Energy Efficiency.												( 15 Marks )

( b ) Explain the tariff options for Demand side Management .		( 10 Marks )

OR

- ( a ) Illustrate Energy Efficient replacement options in Lighting System.	( 10 Marks )

( b ) Draw and explain the block diagram of DSM planning and implementation.												( 15 Marks )