POWER ELECTRONICS FOR RENEWABLE ENERGY RESOURCES – QUESTION BANK

16 MARKS

UNIT-1

- Discuss the influence of different renewable energy sources with special reference to the global warming context.

- Describe the consequences of green house effect.

- Enumerate the prospects pf ocean and biomass energy.

- Explain the qualitative study of different renewable energy resources.

- Explain the impacts of renewable energy generation on environment.

- How does environment get affected by the use of the renewable energy?  And also discuss the GHG emissions from the various energy sources.

- Compare and contrast the conventional energy sources with renewable energy sources in the environmental aspects.

- What are fuel cells?  Explain the operation of fuel cells based energy system with a neat schematic.

- Explain the following with neat schematic.

  - Hydrogen energy

  - Energy from the Ocean.

UNIT-2

- Draw the schematic of squirrel cage induction generator and explain the construction and principle of operation in detail.  Also discuss the characteristics and issues briefly.

- Explain the principle of operation and constructional features of doubly fed induction generator with a neat diagram.  Analyse the merits and demerits of the above.

- Explain machine capacity factor and capacity utilization factor.  Explain the principle of operation of double output induction generator system with a neat diagram.

- Draw the circuit model of self excited induction generator and explain the methods used for steady state analysis.

- With neat diagram, explain the principle of PMSG and analyze in detail.

- Explain the operation of SCIG in details with proper analysis.

- Explain with neat diagram the operation of an induction generator.

- Bring out the merits and demerits of mains excited and capacitor excited induction generators.

- Describe the construction and theory of operation of PMSG.

UNIT-3

- Explain with neat diagram the philosophy of operation of a solar source fed boost converter.

- Bring out the delicacies involved in sizing the solar arrays.

- Describe how a three phase line commutated converter is operated as an inverter.

- Discuss the limitations in the operation of matrix converter.

- Explain the principle and operation of line commutated converters in inverse mode.

- Explain the three phase uncontrolled rectifiers in detail.

- Write short note on PWM inverters.

- Explain the operation of line commutated converter under inversion mode with the help of a neat circuit diagram and necessary waveforms.

- Write a short note on the grid interactive inverters.

- A single phase full bridge inverter has a resistive load of R=3 ohms and the dc input voltage is E=50V. Compute the RMS output voltage at the fundamental frequency, the output power, the average and peak currents of each thyristor and peak reverse blocking voltage of each thyristor.

- Consider buck boost converter of input dc voltage E=14V.  The duty cycle α=0.6 and the switching frequency is 25 KHz.  The inductance L=180µH and the filter capacitance C=220µF.  The average load current I=1.5 A.  Compute the average output voltage on peak current of the devices.

UNIT-4

- Explain with necessary diagram, the stand alone fixed speed and variable speed operation of WECS.  State the advantages of fixed speed system over variable speed system.

- Discuss in detail the grid system characteristics and explain with a neat diagram the stand alone and grid integrated solar system.

- Explain in detail of the stand alone operation of fixed and variable speed energy conversion systems.

- Write short on

  - Grid connected PMSG.

  - SCIG based WECS.

- Explain  with the help of a neat diagram the functions of various blocks of a WECS.

- A HAWT is installed at a location having free wind velocity of 15m/s.  The 80m diameter rotor has three blades attached to the hub.  Find the rotational speed of the turbine for optimal energy extraction.

- Explain with the aid of a diagram the operation fof a grid integrated solar photo voltaic system.

- Explain how the insolation and temperature affects the I-V characteristics of a solar cell.

- Explain the stand alone operation of variable speed wind energy conversion system in detail.

- Draw the block diagram of PMSG based wind energy conversion system and explain the operation in detail.

- Explain the operation of grid integrated SCIG based WECS with a neat block diagram.

- What are grid integrated solar systems?  Discuss in detail.